## Results
Workshop 2023 - improving detection of eDNA from crayfish and crayfish plague
Please fill in the following excel sheets. |  | Cells formated in this colour is used for additional information to aid the in the filling of the form.
Green cells is used for table headers. |  | Grey cells with red text contains or are linked to formulas |  |  |  |  | Yellow cells is for additional information that you might need/want to share
Fill in the cells that are formated in blue.
Remarks:
Country: | [7 empty] | Desirable to anonymize laboratory results?
Laboratory:
Contact person:
Email:
Accreditation status of lab. E.g. ISO 17025
Date of submission (yyyy-mm-dd):
|  | Astacus astacus | [5 empty] | Pacifastacus leniusculus |  |  |  |  | Aphanomyces astaci
Sample |  | quantitative results (Cq and/or genome copies) |  |  |  |  | qualitative result (positive/negative) | quantitative results (Cq and/or genome copies) |  |  |  | qualitative result (positive/negative) | quantitative results (Cq and/or genome copies) | qualitative result (positive/negative)
Filter 1. Tank of noble crayfish (few) | [14 empty] | Use as many of the boxes as needed for your replicates. Leave additional boxes blank.
Filter 2. Tank of noble crayfish (few)
Filter 1. Tank of noble crayfish (many)
Filter 2. Tank of noble crayfish (many)
Filter 1. Tank of signal crayfish (few)
Filter 2. Tank of signal crayfish (few)
Filter 1. Tank of signal crayfish (many)
Filter 2. Tank of signal crayfish (many)
Filter 1. Tank (empty)
Filter 2. Tank (empty)
Filter 1. Pond noble crayfish
Filter 2. Pond noble crayfish
Filter 1. Pond signal crayfish
Filter 2. Pond signal crayfish
Filter 1. Pond empty
Filter 2. Pond empty
Filter 1. Plauge
Filter 2. Plauge
Filter 1. Lake Mälaren
Filter 2. Lake Mälaren
Unknown filter |  | Astacus astacus | [5 empty] | Pacifastacus leniusculus |  |  |  |  | Aphanomyces astaci
| Labelled | quantitative results (Cq and/or genome copies) |  |  |  |  | qualitative result (positive/negative) | quantitative results (Cq and/or genome copies) |  |  |  | qualitative result (positive/negative) | quantitative results (Cq and/or genome copies) | qualitative result (positive/negative)
Sample 1
Sample 2
Sample 3
Astacus astacus |  | Serial dilution 1 | Serial dilution 2 |  |  |  | Perform 2 separate 10-fold dilution series. Run each series in triplicate.
Dilution factor (total) |  | Cq | Cq | Cq mean | Cq SD | CV (%) |  |  | Geometric efficiency | R2 | Many PCR machines can calculate the geometric efficiency and R2 automaticly if this is not your case leave it blank.
10^-0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-9 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Pacifastacus leniusculus |  | Serial dilution 1 | Serial dilution 2 |  |  |  | Perform 2 separate 10-fold dilution series. Run each series in triplicate.
Dilution factor (total) |  | Cq | Cq | Cq mean | Cq SD | CV (%) |  |  | Geometric efficiency | R2 | Many PCR machines can calculate the geometric efficiency and R2 automaticly if this is not your case leave it blank.
10^-0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-9 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Pacifastacus leniusculus |  | Serial dilution 1 | Serial dilution 2 |  |  |  | Perform 2 separate 10-fold dilution series. Run each series in triplicate.
Dilution factor (total) |  | Cq | Cq | Cq mean | Cq SD | CV (%) |  |  | Geometric efficiency | R2 | Many PCR machines can calculate the geometric efficiency and R2 automaticly if this is not your case leave it blank.
10^-0 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-1 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-2 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-3 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-4 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-5 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-6 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-7 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-8 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
10^-9 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!

## Sampling
Laboratory: | 0
| Type | Manufacturer | Model | Pressure
Sampling equipment | [5 empty] | Type: e.g. syringe, peristaltic pump | Pressure: Specify unit as well as possible e.g. bar, full speed on screwdriver
Filtertype | [5 empty] | Model: include pore size
Sample | Volume of filtered water (l) | Treatment of samples | Transport time (h) | Sample avg. temp. (°C) | Water temperature (°C) | Treatment of samples: Buffer, dry (silica gel), freezing (dry ice) etc.
Filter 1. Tank of noble crayfish (few) | [5 empty] | Water temerature: SLU Aqua will measure the temperatures
Filter 2. Tank of noble crayfish (few) | [5 empty] | Sample average temperature: if possible
Filter 1. Tank of noble crayfish (many)
Filter 2. Tank of noble crayfish (many)
Filter 1. Tank of signal crayfish (few)
Filter 2. Tank of signal crayfish (few)
Filter 1. Tank of signal crayfish (many)
Filter 2. Tank of signal crayfish (many)
Filter 1. Tank (empty)
Filter 2. Tank (empty)
Filter 1. Pond noble crayfish
Filter 2. Pond noble crayfish
Filter 1. Pond signal crayfish
Filter 2. Pond signal crayfish
Filter 1. Pond empty
Filter 2. Pond empty
Filter 1. Plauge
Filter 2. Plauge
Filter 1. Lake Mälaren
Filter 2. Lake Mälaren
Remarks:

## Extraction
Laboratory: | 0
Pre-preperation (please describe). I.e. steps before DNA-extraction. Please attach word/pdf file with description and specify name of the file in the cell to the right (B/C 1). If suitable, combine attached file with file below
Extraction method (manual (kit)/automatic/manual, no kit/combination)
If automatic | Manufacturer | Model
Robot used
Kit used
Sample volume (µl)
Eluation volume (µl)
| Manufacturer | Kit
If manual (kit)
Sample volume (µl)
Eluation volume (µl)
Please describe all steps (if 100% according to manufacturers instruction, please attach instruction and make sure there is no ambiguity)
If manual (no-kit) e.g. Phenol-Chloroform
Please attach word/pdf file with description and specify name of the file in the cell to the right (B/C 13) If suitable, combine atached file with file above

## PCR Astacus astacus
Laboratory: |  | 0
Noble crayfish (Astacus astacus) | [5 empty] | Incase of multiplex PCR, change title to reflect what the PCR detects e.g. noble+signal
[6 empty] | Info |  |  |  | Comment (optional)
Reference on assay
Accredited method (no/standard) e.g. ISO 17025
|  |  | (yes/no) |  | Limit
Limit of detection determined (yes/no - limit) | [5 empty] | If LOD/LOQ is determined fill in the limit and specify the unit used e.g. genome copies/µl
Limit of quantification determined (yes/no - limit)
|  |  | Target |  | Amplicon size (bp) |  | Target | Amplicon size (bp)
System 1 | [5 empty] | System 1 | COI - Astacus astacus | 65
System 2 | [5 empty] | System 2 | EGFP - Internal Process Control | 232
System 3
System 4
System 5
Sys. # | Oligo name | Type | Sequence (5'-3')
Leave rows not needed blank. Use the same number for sys. # as above, see example below
[6 empty] | Sys. # | Oligo name | Type | Sequence (5'-3')
[6 empty] | 1 | Astast_COI_F0336 | Forward | GATTAGAGGAATAGTAGAGAG
[6 empty] | 1 | Astast_COI_R0397 | Reverse | CTGATGCTAAAGGGGGATAA
[6 empty] | 2 | EGFP-11-F | Forward | CAGCCACAACGTCTATATCATG
[6 empty] | 2 | EGFP-2-R | Reverse | GAACTCCAGCAGGACCATG
[6 empty] | 1 | Astast_COI_P0357-FAM | Probe | AGGAGTAGGGACAGGATGAACT
[6 empty] | 2 | EGFP-Cy5 | Probe | AGCACCCAGTCCGCCCTGAGCA
For non-standard nucleotides please follow standard guidlines (e.g. R degenerated base, A and G (https://doi.org/10.1016/S0021-9258(17)42419-7)) If the PCR isn't probe-based please specify in comment (e.g. SYBR® Green) For modified bases mark them with a * after and specify modification in comments (e.g. ATG*CTTTCCAAGAA, here the 3rd base 'G' is modified)
Probe
Probe
Probe
Probe
Probe
|  |  | Labelling/Quencer |  |  | (Probe-name is linked from C27-C31) E.g. FAM/ZEN/IBFQ or FAM/MGB Leave blank if not used, e.g. leave internal quencer blank if there isn't one If the PCR isn't probe based leave blank and specify in comment
|  |  | 5' | internal | 3'
0
0
0
0
0
Probe-type | [5 empty] | E.g. TaqMan
|  |  | Temperature (°C) | Time (s) | Number of cycles
Extra stage if anyone needs (overwrite if needed) | [5 empty] | Notice the Time unit
Holding Stage | [5 empty] | Leave stages not used blank. Incase of melting curve analysis, please describe in comment.
Holding Stage
Cycling Stage (Denaturation)
Cycling Stage (Annealing)
Cycling Stage (Extension)
Final Extension
Extra stage if anyone needs (overwrite if needed)
Cut-Of | [5 empty] | If no cut-of value is used, please type "none"
Number of PCR-replicates
Criteria for positive sample | [5 empty] | I.e. number of positive samples needed to classify it as positive.
Baseline (automatic or manual)
If manual please specify criteria for baseline selection | [5 empty] | E.g. Baseline is set automaticly but manually overrided if the software does a poor job. Manual adjustment aim to achive a stable horizontal baseline by experimentation. Or, baseline is set between cycle 2 and 24 etc.
Threshold (automatic or manual)
If manual please specify criteria for threshold selection | [5 empty] | E.g. (1) The threshold should be placed above the background fluorescence noise, across the exponential phase of all the amplification curves (corresponding to the early linear phase of the logarithmic view). E.g. (2) Sample(s) with known concentrations are used to normalize the PCR.
Thermocycler |  | Instrument |  |  |  | Manufacturer and model
Software
Average Ramp-speed (°C/s)
Example:
Total reaction volume (µl) |  |  | 0 |  |  | Total reaction volume | 25
Template volume (µl) | [5 empty] | Template | 5
Component |  |  | Initial concentration [µM] | µl per reaction | Final concentration [µM] | Component | Initial concentration [µM] | µl per reaction | Final concentration [µM]
[5 empty] | #DIV/0! | Nuclease-free water |  | 3.5
[5 empty] | #DIV/0! | PerfeCTa® qPCR ToughMix® (Quantabio) | 2 | 12.5 | 1
[5 empty] | #DIV/0! | Forward primer (1) | 12.5 | 1 | 0.5
[5 empty] | #DIV/0! | Reverse primer (1) | 6.25 | 1 | 0.25
[5 empty] | #DIV/0! | Reverse primer (2) | 6.25 | 1 | 0.25
[5 empty] | #DIV/0! | Probe (1) | 5 | 1 | 0.2
#DIV/0!
#DIV/0!
[5 empty] | #DIV/0! | Light-grey cells with red text contains formulas, no need to manually enter the values
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## PCR Pacifastacus leniusculus
Laboratory: |  | 0
Signal crayfish (Pacifastacus leniusculus) | [5 empty] | Incase of multiplex PCR, change title to reflect what the PCR detects e.g. noble+signal
[6 empty] | Info |  |  |  | Comment (optional)
Reference on assay
Accredited method (no/standard) e.g. ISO 17025
|  |  | (yes/no) |  | Limit
Limit of detection determined (yes/no - limit) | [5 empty] | If LOD/LOQ is determined fill in the limit and specify the unit used e.g. genome copies/µl
Limit of quantification determined (yes/no - limit)
|  |  | Target |  | Amplicon size (bp) |  | Target | Amplicon size (bp)
System 1 | [5 empty] | System 1 | COI - Astacus astacus | 65
System 2 | [5 empty] | System 2 | EGFP - Internal Process Control | 232
System 3
System 4
System 5
Sys. # | Oligo name | Type | Sequence (5'-3')
Leave rows not needed blank. Use the same number for sys. # as above, see example below
[6 empty] | Sys. # | Oligo name | Type | Sequence (5'-3')
[6 empty] | 1 | Astast_COI_F0336 | Forward | GATTAGAGGAATAGTAGAGAG
[6 empty] | 1 | Astast_COI_R0397 | Reverse | CTGATGCTAAAGGGGGATAA
[6 empty] | 2 | EGFP-11-F | Forward | CAGCCACAACGTCTATATCATG
[6 empty] | 2 | EGFP-2-R | Reverse | GAACTCCAGCAGGACCATG
[6 empty] | 1 | Astast_COI_P0357-FAM | Probe | AGGAGTAGGGACAGGATGAACT
[6 empty] | 2 | EGFP-Cy5 | Probe | AGCACCCAGTCCGCCCTGAGCA
For non-standard nucleotides please follow standard guidlines (e.g. R degenerated base, A and G (https://doi.org/10.1016/S0021-9258(17)42419-7)) If the PCR isn't probe-based please specify in comment (e.g. SYBR® Green) For modified bases mark them with a * after and specify modification in comments (e.g. ATG*CTTTCCAAGAA, here the 3rd base 'G' is modified)
Probe
Probe
Probe
Probe
Probe
|  |  | Labelling/Quencer |  |  | (Probe-name is linked from C27-C31) E.g. FAM/ZEN/IBFQ or FAM/MGB Leave blank if not used, e.g. leave internal quencer blank if there isn't one If the PCR isn't probe based leave blank and specify in comment
|  |  | 5' | internal | 3'
0
0
0
0
0
Probe-type | [5 empty] | E.g. TaqMan
|  |  | Temperature (°C) | Time (s) | Number of cycles
Extra stage if anyone needs (overwrite if needed) | [5 empty] | Notice the Time unit
Holding Stage | [5 empty] | Leave stages not used blank. Incase of melting curve analysis, please describe in comment.
Holding Stage
Cycling Stage (Denaturation)
Cycling Stage (Annealing)
Cycling Stage (Extension)
Final Extension
Extra stage if anyone needs (overwrite if needed)
Cut-Of | [5 empty] | If no cut-of value is used, please type "none"
Number of PCR-replicates
Criteria for positive sample | [5 empty] | I.e. number of positive samples needed to classify it as positive.
Baseline (automatic or manual)
If manual please specify criteria for baseline selection | [5 empty] | E.g. Baseline is set automaticly but manually overrided if the software does a poor job. Manual adjustment aim to achive a stable horizontal baseline by experimentation. Or, baseline is set between cycle 2 and 24 etc.
Threshold (automatic or manual)
If manual please specify criteria for threshold selection | [5 empty] | E.g. (1) The threshold should be placed above the background fluorescence noise, across the exponential phase of all the amplification curves (corresponding to the early linear phase of the logarithmic view). E.g. (2) Sample(s) with known concentrations are used to normalize the PCR.
Thermocycler |  | Instrument |  |  |  | Manufacturer and model
Software
Average Ramp-speed (°C/s)
Example:
Total reaction volume (µl) |  |  | 0 |  |  | Total reaction volume | 25
Template volume (µl) | [5 empty] | Template | 5
Component |  |  | Initial concentration [µM] | µl per reaction | Final concentration [µM] | Component | Initial concentration [µM] | µl per reaction | Final concentration [µM]
[5 empty] | #DIV/0! | Nuclease-free water |  | 3.5
[5 empty] | #DIV/0! | PerfeCTa® qPCR ToughMix® (Quantabio) | 2 | 12.5 | 1
[5 empty] | #DIV/0! | Forward primer (1) | 12.5 | 1 | 0.5
[5 empty] | #DIV/0! | Reverse primer (1) | 6.25 | 1 | 0.25
[5 empty] | #DIV/0! | Reverse primer (2) | 6.25 | 1 | 0.25
[5 empty] | #DIV/0! | Probe (1) | 5 | 1 | 0.2
#DIV/0!
#DIV/0!
[5 empty] | #DIV/0! | Light-grey cells with red text contains formulas, no need to manually enter the values
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## PCR Aphanomyces astaci
Laboratory: |  | 0
Crayfish plague (Aphanomyces astaci) | [5 empty] | Incase of multiplex PCR, change title to reflect what the PCR detects e.g. noble+signal
[6 empty] | Info |  |  |  | Comment (optional)
Reference on assay
Accredited method (no/standard) e.g. ISO 17025
|  |  | (yes/no) |  | Limit
Limit of detection determined (yes/no - limit) | [5 empty] | If LOD/LOQ is determined fill in the limit and specify the unit used e.g. genome copies/µl
Limit of quantification determined (yes/no - limit)
|  |  | Target |  | Amplicon size (bp) |  | Target | Amplicon size (bp)
System 1 | [5 empty] | System 1 | COI - Astacus astacus | 65
System 2 | [5 empty] | System 2 | EGFP - Internal Process Control | 232
System 3
System 4
System 5
Sys. # | Oligo name | Type | Sequence (5'-3')
Leave rows not needed blank. Use the same number for sys. # as above, see example below
[6 empty] | Sys. # | Oligo name | Type | Sequence (5'-3')
[6 empty] | 1 | Astast_COI_F0336 | Forward | GATTAGAGGAATAGTAGAGAG
[6 empty] | 1 | Astast_COI_R0397 | Reverse | CTGATGCTAAAGGGGGATAA
[6 empty] | 2 | EGFP-11-F | Forward | CAGCCACAACGTCTATATCATG
[6 empty] | 2 | EGFP-2-R | Reverse | GAACTCCAGCAGGACCATG
[6 empty] | 1 | Astast_COI_P0357-FAM | Probe | AGGAGTAGGGACAGGATGAACT
[6 empty] | 2 | EGFP-Cy5 | Probe | AGCACCCAGTCCGCCCTGAGCA
For non-standard nucleotides please follow standard guidlines (e.g. R degenerated base, A and G (https://doi.org/10.1016/S0021-9258(17)42419-7)) If the PCR isn't probe-based please specify in comment (e.g. SYBR® Green) For modified bases mark them with a * after and specify modification in comments (e.g. ATG*CTTTCCAAGAA, here the 3rd base 'G' is modified)
Probe
Probe
Probe
Probe
Probe
|  |  | Labelling/Quencer |  |  | (Probe-name is linked from C27-C31) E.g. FAM/ZEN/IBFQ or FAM/MGB Leave blank if not used, e.g. leave internal quencer blank if there isn't one If the PCR isn't probe based leave blank and specify in comment
|  |  | 5' | internal | 3'
0
0
0
0
0
Probe-type | [5 empty] | E.g. TaqMan
|  |  | Temperature (°C) | Time (s) | Number of cycles
Extra stage if anyone needs (overwrite if needed) | [5 empty] | Notice the Time unit
Holding Stage | [5 empty] | Leave stages not used blank. Incase of melting curve analysis, please describe in comment.
Holding Stage
Cycling Stage (Denaturation)
Cycling Stage (Annealing)
Cycling Stage (Extension)
Final Extension
Extra stage if anyone needs (overwrite if needed)
Cut-Of | [5 empty] | If no cut-of value is used, please type "none"
Number of PCR-replicates
Criteria for positive sample | [5 empty] | I.e. number of positive samples needed to classify it as positive.
Baseline (automatic or manual)
If manual please specify criteria for baseline selection | [5 empty] | E.g. Baseline is set automaticly but manually overrided if the software does a poor job. Manual adjustment aim to achive a stable horizontal baseline by experimentation. Or, baseline is set between cycle 2 and 24 etc.
Threshold (automatic or manual)
If manual please specify criteria for threshold selection | [5 empty] | E.g. (1) The threshold should be placed above the background fluorescence noise, across the exponential phase of all the amplification curves (corresponding to the early linear phase of the logarithmic view). E.g. (2) Sample(s) with known concentrations are used to normalize the PCR.
Thermocycler |  | Instrument |  |  |  | Manufacturer and model
Software
Average Ramp-speed (°C/s)
Example:
Total reaction volume (µl) |  |  | 0 |  |  | Total reaction volume | 25
Template volume (µl) | [5 empty] | Template | 5
Component |  |  | Initial concentration [µM] | µl per reaction | Final concentration [µM] | Component | Initial concentration [µM] | µl per reaction | Final concentration [µM]
[5 empty] | #DIV/0! | Nuclease-free water |  | 3.5
[5 empty] | #DIV/0! | PerfeCTa® qPCR ToughMix® (Quantabio) | 2 | 12.5 | 1
[5 empty] | #DIV/0! | Forward primer (1) | 12.5 | 1 | 0.5
[5 empty] | #DIV/0! | Reverse primer (1) | 6.25 | 1 | 0.25
[5 empty] | #DIV/0! | Reverse primer (2) | 6.25 | 1 | 0.25
[5 empty] | #DIV/0! | Probe (1) | 5 | 1 | 0.2
#DIV/0!
#DIV/0!
[5 empty] | #DIV/0! | Light-grey cells with red text contains formulas, no need to manually enter the values
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## Tabels
Kolumn1 | Kolumn2 | Kolumn22 | Kolumn23
min | Automatic | Forward | Positive
s | Manual | Reverse | Negative